## Slide 1: Using Helix delta-Q
Copyright, 2004 © Helix Technologies
Pipe Network Analysis Program
Notes: Installation and Operation

## Slide 2: Introduction
Installation and Operation of Helix delta-Q Pipe Design Software
Constructing a Basic Network
Modeling Techniques
Refining the Design
Output and Printing

## Slide 3: Installation of delta-Q
Web based installation
Helix CD ROM.
On-line Registration Version
Dongle Device Driver.

## Slide 4: Default Settings
Liquid, Slurry or Gas network.
Setup Default Pipe, Liquid, Slurry and Gas.
Units
Databases

## Slide 5: Friction Loss Calculations
Darcy Weisbach
Hazen Williams
Isothermal
Modified Darcy
Perry’s Chemical Engineers Handbook
Crane Technical Paper 410

## Slide 6: Building a Pipe Network
Process Flow Known - use Nozzle
Process Head Known - use Tanks
Pipe Fittings - kf Value, add own fittings, edit data
Solving the Network.

## Slide 7: Other Network Components
Pump Head, absorbed power, NPSH available
Orifice Plates, NRV
Heat Exchanger, Cyclones, Pressure Vessels
Network settings

## Slide 8: Network Analysis
Linear Theory Method.
Newton Raphson.
Watch iterations
Fine Tuning
Recover from overshoot - use Random seed and reset buttons

## Slide 9: Printing Data Reports
Network Diagram - right click
System Graphs.
Report Form - Pipes, Nodes, Fittings, Graphs
Fine Tuning - use graphs
Export to Excel
CAD DXF Files

## Slide 10: Slurry Types
Newtoniam Fluid
Settling Slurry
Bingham Plastic

## Slide 11: Slurry Systems
Settling Slurries - settling velocity, graph.
Bingham Plastics - best for single pipes.
Other models - psuedoplastics, dilatant fluids Heschel Bulkley, Casson model, Sisko Model.
Pump correction Head Ratio

## Slide 12: Settling Slurry System Curve

## Slide 13: Bingham Slurry System Curve

## Slide 14: Gas Networks
Absolute Pressure Units - add atmospheric
Flow Balance at junctions
Steam Flow
Break Pipe into smaller lengths if choked flow occurs
Airconditioning, gas flow samples
Dust Extraction.

## Slide 15: Summary
Powerful Network Analysis Program.
Keep a watch on Iterations.
Build Network in small sectors.
Think Process Flow or Head known